## EV Upgrade Checklist
EV Charging Upgrade Checklist | [6 empty] | CHECKLIST PROGRESS
Planning worksheet for homeowners, contractors and estimators. Complete the site information first, then work through each checklist section. | [6 empty] | Total Items | 71
[7 empty] | Complete | 0
PROJECT / CUSTOMER INFORMATION | [6 empty] | Issues | 0
Customer / Project |  | Site Address |  | Date |  |  | N/A | 0
EV Make / Model |  | Preferred Charger |  | Estimator / Electrician |  |  | Completion % | 0%
SITE SNAPSHOT
Service Voltage |  | Service Size (A) |  | Panel Spaces Available
Desired Charger (A) |  | Panel-to-Charger Distance (m) |  | Indoor / Outdoor
Service Upgrade Required? |  | Load Management Considered? |  | Permit Required?
Overall Status |  | Quoted Amount |  | Target Install Date
Section | Status | Checklist Item | Details / Measurement | Action Required | Responsible | Notes
Vehicle & Charging | Not Started | EV make/model identified
Vehicle & Charging | Not Started | Maximum AC charging rate confirmed
Vehicle & Charging | Not Started | Level 1 or Level 2 charging selected
Vehicle & Charging | Not Started | Desired charger amperage confirmed
Vehicle & Charging | Not Started | Plug-in or hardwired EVSE selected
Vehicle & Charging | Not Started | Connector type confirmed
Vehicle & Charging | Not Started | Smart/networked charger requirements identified
Vehicle & Charging | Not Started | Outdoor/weather rating confirmed if applicable
Existing Service | Not Started | Service voltage confirmed
Existing Service | Not Started | Main service rating confirmed
Existing Service | Not Started | Main panel rating confirmed
Existing Service | Not Started | Main breaker size recorded
Existing Service | Not Started | Available panel spaces checked
Existing Service | Not Started | Major existing electrical loads documented
Existing Service | Not Started | Service/load calculation reviewed
Existing Service | Not Started | Available EV charging capacity determined
Existing Service | Not Started | Service upgrade requirement determined
Existing Service | Not Started | Load-management option considered
Installation Location | Not Started | Parking/charging location identified
Installation Location | Not Started | Charger mounting location selected
Installation Location | Not Started | Panel-to-charger distance measured
Installation Location | Not Started | Cable/conduit route planned
Installation Location | Not Started | Finished wall/ceiling impacts identified
Installation Location | Not Started | Underground work identified
Installation Location | Not Started | Detached garage/outbuilding requirements reviewed
Installation Location | Not Started | Physical protection/bollard requirement reviewed
Installation Location | Not Started | Wi-Fi/cellular signal checked if required
Circuit & Equipment | Not Started | EVSE continuous-load requirements accounted for
Circuit & Equipment | Not Started | Circuit amperage determined
Circuit & Equipment | Not Started | Breaker selected
Circuit & Equipment | Not Started | Conductor size determined
Circuit & Equipment | Not Started | Conductor material selected
Circuit & Equipment | Not Started | Cable/conduit type selected
Circuit & Equipment | Not Started | Voltage drop checked
Circuit & Equipment | Not Started | Disconnecting means reviewed where applicable
Circuit & Equipment | Not Started | Required protective devices reviewed
Circuit & Equipment | Not Started | Load-management equipment selected if required
Circuit & Equipment | Not Started | Manufacturer installation instructions reviewed
Permit / Utility / Code | Not Started | Applicable CEC requirements reviewed
Permit / Utility / Code | Not Started | Local permit/inspection requirements confirmed
Permit / Utility / Code | Not Started | Electrical permit obtained where required
Permit / Utility / Code | Not Started | Utility requirements checked for service changes
Permit / Utility / Code | Not Started | Meter/service equipment changes identified
Permit / Utility / Code | Not Started | Utility coordination scheduled if required
Permit / Utility / Code | Not Started | Available incentives/rebates checked
Quote & Materials | Not Started | EV charger included
Quote & Materials | Not Started | Breaker included
Quote & Materials | Not Started | Conductors/cable included
Quote & Materials | Not Started | Conduit and fittings included
Quote & Materials | Not Started | Junction/pull boxes included
Quote & Materials | Not Started | Disconnect included if required
Quote & Materials | Not Started | Load-management equipment included if required
Quote & Materials | Not Started | Mounting hardware included
Quote & Materials | Not Started | Labels/signage included
Quote & Materials | Not Started | Trenching/core drilling included if required
Quote & Materials | Not Started | Labour estimated
Quote & Materials | Not Started | Permit/inspection costs included
Quote & Materials | Not Started | Utility costs included where applicable
Quote & Materials | Not Started | Customer quote approved
Commissioning | Not Started | Installation visually inspected
Commissioning | Not Started | Connections/terminations verified
Commissioning | Not Started | Charger energized and tested
Commissioning | Not Started | Vehicle charging test completed
Commissioning | Not Started | Load-management system tested if applicable
Commissioning | Not Started | Network/app configured if applicable
Commissioning | Not Started | Charger settings verified
Commissioning | Not Started | Panel directory updated
Commissioning | Not Started | Required labels installed
Commissioning | Not Started | Inspection completed
Commissioning | Not Started | Customer shown normal operation
Commissioning | Not Started | Warranty/manual information provided
Planning aid only. Final EVSE installation, service capacity, conductor sizing, overcurrent protection, load calculations, permitting and inspection requirements must be verified by a qualified electrical professional using the applicable Canadian Electrical Code, manufacturer instructions, utility requirements and local authority requirements.