## Project setup
LIGHTING ROI CALCULATOR
Project Information
Project Name
Customer Name
Assesment Date
OPERATING CONDITIONS
Hours per Day | 10
Days per Week | 5
Weeks per Year | 52
Annual operating hours | 2600
FINANCIAL ASSUMPTIONS
Electricity Rate ($/kWh) | 0.14
Annual maintenance savings | 0
Annual demand savings
Annual Electricity Ratye Increase (%) | 3%

## Existing lighting
Area/Location | Fixture Type | Fixture Quantity | Lamps per Fixture | Lamp Wattage (W) | Ballast Factor | Ballast Wattage(W) | Total Fixture Watts | Total Connected Load (W) | Annual Energy (kWh) | Annual Energy Cost ($)
Main office | 2-lamp T8 | 24 | 4 | 32 | 0.88 | 8 | 120.64 | 2895.36 | 7527.936 | 1053.911

## Proposed lighting
Area / Location | Proposed LED Fixture | Fixture Quantity | LED Wattage (W) | Total Connected Load (W) | Annual Energy (kWh) | Annual Energy Cost ($) | Fixture Unit Cost ($) | Total Fixture Cost ($)
main office | led flat panel | 24 | 30 | 720 | 1872 | 262.08 | 2500 | 60000

## ROI Summary
ENERGY COMPARISON |  | Year | annual savings | cumulative savings | net savings
Existing Connected Loads (W) | 2895.36 | 0 | 0 | 0 | -61000
Proposed Connected Loads (W) | 720 | 1 | 791.831 | 791.831 | -60208.169
Connected Load Reduction (W) | 2175.36 | 2 | 815.586 | 1607.417 | -59392.583
Existing Annual Energy (kWh) | 7527.936 | 3 | 840.0536 | 2447.4706 | -58552.5294
Proposed Annual Energy (kWh) | 1872 | 4 | 865.2552 | 3312.7257 | -57687.2743
Annual Energy Savings (kWh) | 5655.936 | 5 | 891.2128 | 4203.9385 | -56796.0615
|  | 6 | 917.9492 | 5121.8877 | -55878.1123
FINANCIAL COMPARISON |  | 7 | 945.4877 | 6067.3754 | -54932.6246
Existing Annual Energy Cost ($) | 1053.911 | 8 | 973.8523 | 7041.2277 | -53958.7723
Proposed Annual Energy Cost ($) | 262.08 | 9 | 1003.0679 | 8044.2956 | -52955.7044
Annual Energy Cost Savings ($) | 791.831 | 10 | 1033.1599 | 9077.4555 | -51922.5445
Annual Maintenance Savings ($) | 0
Annual Demand Savings ($) | 0
Total Annual Savings ($) | 791.831
PROJECT INVESTMENT
LED Fixture Purchase Cost ($) | 60000
Installation Labour ($) | 1200
Additional Materials ($) | 300
Rebates / Incentives ($) | 500
Net Project Investment ($) | 61000
RETURN ON INVESTMENT
Simple Payback (Years) | 77.0366
Annual ROI (%) | 1.298%
LONG-TERM FINANCIAL OUTLOOK
5 Year Net Savings | -56796.0615
!0 Year Net Savings | -51922.5445
BREAK-EVEN ANALYSIS
Break-even Year | Beyond 10 Years
Investment Recovery Status | Not Recovered Within 10 Years